## System-Input
Parameter | Value | Ref.
Model time horizon [years] | 50 | User defined
Model solution interval [years] | 5 | User defined
Seasons | 2 | User defined
Times of day | 24 | User defined
Discount Rate | 0.09 | [1]
Reserve Margin | 0.06215 | [3-6]
Yearly Demand |  | Ref | [2]
Year [-] | 2018 | 2023 | 2028 | 2033 | 2038 | 2043 | 2048 | 2053 | 2058 | 2063 | 2068
Demand [PJ] | 70.8228 | 66.3228 | 65.9664 | 65.646 | 65.412 | 65.412 | 65.412 | 65.412 | 65.412 | 65.412 | 65.412
Seasons |  | Ref. | User defined
Season [-] | Fraction of year[-]
wet | 0.5
dry | 0.5
Time of Day Fraction |  | Ref. | User defined
Hour | hr1 | hr2 | hr3 | hr4 | hr5 | hr6 | hr7 | hr8 | hr9 | hr10 | hr11 | hr12 | hr13 | hr14 | hr15 | hr16 | hr17 | hr18 | hr19 | hr20 | hr21 | hr22 | hr23 | hr24
Fraction of Day | 0.041667 | 0.041667 | 0.041667 | 0.041667 | 0.041667 | 0.041667 | 0.041667 | 0.041667 | 0.041667 | 0.041667 | 0.041667 | 0.041667 | 0.041667 | 0.041667 | 0.041667 | 0.041667 | 0.041667 | 0.041667 | 0.041667 | 0.041667 | 0.041667 | 0.041667 | 0.041667 | 0.041659
Demand Specific Distribution | User defined hr3: Ref.; User defined hr4: [3-6]
Season | [-] | wet | wet | wet | wet | wet | wet | wet | wet | wet | wet | wet | wet | wet | wet | wet | wet | wet | wet | wet | wet | wet | wet | wet | wet | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry
Time of Day | [-] | hr1 | hr2 | hr3 | hr4 | hr5 | hr6 | hr7 | hr8 | hr9 | hr10 | hr11 | hr12 | hr13 | hr14 | hr15 | hr16 | hr17 | hr18 | hr19 | hr20 | hr21 | hr22 | hr23 | hr24 | hr1 | hr2 | hr3 | hr4 | hr5 | hr6 | hr7 | hr8 | hr9 | hr10 | hr11 | hr12 | hr13 | hr14 | hr15 | hr16 | hr17 | hr18 | hr19 | hr20 | hr21 | hr22 | hr23 | hr24
Fraction of Yearly Demand | [-] | 0.020776 | 0.019875 | 0.019292 | 0.018921 | 0.018921 | 0.019557 | 0.020458 | 0.020405 | 0.021465 | 0.022313 | 0.022843 | 0.023267 | 0.02332 | 0.023267 | 0.023214 | 0.023161 | 0.023108 | 0.022843 | 0.02385 | 0.02491 | 0.024592 | 0.024274 | 0.02332 | 0.022048 | 0.018424 | 0.017625 | 0.017108 | 0.016779 | 0.016779 | 0.017343 | 0.018142 | 0.018095 | 0.019035 | 0.019787 | 0.020257 | 0.020633 | 0.02068 | 0.020633 | 0.020586 | 0.020539 | 0.020492 | 0.020257 | 0.02115 | 0.02209 | 0.021808 | 0.021526 | 0.02068 | 0.019552
References (Ref.)
[1] | Siemens PTI Report, p227
[2] | PREPA 2017 Report
[3] | https://www2.aeepr.com/Docs/Ley57/Estadisticas.pdf
[4] | https://www.aeepr.com/Documentos/Ley57/Generaci%C3%B3n%20Diaria%20Enero%202016.pdf
[5] | https://www.aeepr.com/Documentos/Ley57/Generaci%C3%B3n%20Diaria%20Febrero%202016.pdf
[6] | https://www.aeepr.com/Documentos/Ley57/Generaci%C3%B3n%20Diaria%20Marzo%202016.pdf

## System-Formatted
Parameter | Value | Ref.
Model time horizon [years] | 34 | User defined
Seasons | 2 | User defined
Times of day | 24 | User defined
Discount Rate | 0.09 | [1]
Reserve Margin | 0.06215 | [3-6]
Seasons (User defined)
Name | Fraction of year
wet | 0.5
dry | 0.5
Yearly Demand, Ref. [2]
Year [-] | 2016 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050
Demand [PJ] | 75.24 | 67.9536 | 66.1752 | 65.8332 | 65.5272 | 65.412 | 65.412 | 65.412
Time of Day Fraction (User defined)
Hour | hr1 | hr2 | hr3 | hr4 | hr5 | hr6 | hr7 | hr8 | hr9 | hr10 | hr11 | hr12
Fraction of Day | 0.041667 | 0.041667 | 0.041667 | 0.041667 | 0.041667 | 0.041667 | 0.041667 | 0.041667 | 0.041667 | 0.041667 | 0.041667 | 0.041667
Hour | hr13 | hr14 | hr15 | hr16 | hr17 | hr18 | hr19 | hr20 | hr21 | hr22 | hr23 | hr24
Fraction of Day | 0.041667 | 0.041667 | 0.041667 | 0.041667 | 0.041667 | 0.041667 | 0.041667 | 0.041667 | 0.041667 | 0.041667 | 0.041667 | 0.041659
Demand Specific Distribution, Ref. [3-6]
Season | wet | wet | wet | wet | wet | wet | wet | wet | wet | wet | wet | wet
Time of Day | hr1 | hr2 | hr3 | hr4 | hr5 | hr6 | hr7 | hr8 | hr9 | hr10 | hr11 | hr12
Fraction of Yearly Demand | 0.020776 | 0.019875 | 0.019292 | 0.018921 | 0.018921 | 0.019557 | 0.020458 | 0.020405 | 0.021465 | 0.022313 | 0.022843 | 0.023267
Season | wet | wet | wet | wet | wet | wet | wet | wet | wet | wet | wet | wet
Time of Day | hr13 | hr14 | hr15 | hr16 | hr17 | hr18 | hr19 | hr20 | hr21 | hr22 | hr23 | hr24
Fraction of Yearly Demand | 0.02332 | 0.023267 | 0.023214 | 0.023161 | 0.023108 | 0.022843 | 0.02385 | 0.02491 | 0.024592 | 0.024274 | 0.02332 | 0.022048
Season | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry
Time of Day | hr1 | hr2 | hr3 | hr4 | hr5 | hr6 | hr7 | hr8 | hr9 | hr10 | hr11 | hr12
Fraction of Yearly Demand | 0.018424 | 0.017625 | 0.017108 | 0.016779 | 0.016779 | 0.017343 | 0.018142 | 0.018095 | 0.019035 | 0.019787 | 0.020257 | 0.020633
Season | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry
Time of Day | hr13 | hr14 | hr15 | hr16 | hr17 | hr18 | hr19 | hr20 | hr21 | hr22 | hr23 | hr24
Fraction of Yearly Demand | 0.02068 | 0.020633 | 0.020586 | 0.020539 | 0.020492 | 0.020257 | 0.02115 | 0.02209 | 0.021808 | 0.021526 | 0.02068 | 0.019552
References (Ref.)
[1] | hr13: Siemens PTI Report, p227
[2] | hr13: PREPA 2017 Report
[3] | hr13: https://www2.aeepr.com/Docs/Ley57/Estadisticas.pdf
[4] | hr13: https://www.aeepr.com/Documentos/Ley57/Generaci%C3%B3n%20Diaria%20Enero%202016.pdf
[5] | hr13: https://www.aeepr.com/Documentos/Ley57/Generaci%C3%B3n%20Diaria%20Febrero%202016.pdf
[6] | hr13: https://www.aeepr.com/Documentos/Ley57/Generaci%C3%B3n%20Diaria%20Marzo%202016.pdf

## PowerPlants-Input
Legend
| Calculated | Needs Attention | Missing Value | [20 empty] | Plant | Capacity (MW) |  |  | Onshore Wind | 50 to 100 MW
[24 empty] | Central CCGT | 1000 |  |  | Utility-scale PV | 100 MW | Single axis tracking
| Conversions | [22 empty] | Central OCGT | 500 |  |  | Commercial PV | 300 kW | Fixed tilt, roof mounted
| [MWh/PJ] | 277777.7778 | [21 empty] | Dist. CCGT | 200 |  |  | Residential PV | 5 kW | Fixed tilt, roof mounted
| [m$/$] | 1e-06 | [21 empty] | Dist. OCGT | 100
| [kWh/Btu] | 0.00029307 | https://www.rapidtables.com/convert/energy/kWh_to_BTU.html
| [PJ/TWh] | 3.6 | http://www.kylesconverter.com/energy,-work,-and-heat/petajoules-to-terawatt-hours
| Technologies | TEMOA Naming and Options | [5 empty] | Scenarios |  |  |  | Post-Processing Classification |  |  | Performance | [8 empty] | Costs | [6 empty] | Existing Capacity [MW] | [13 empty] | Constraints
|  | Name | Temoa Fuel | Temoa Output | Baseload? | Reserve? | New Builds? | A | B | C | D | Dispatchable | Renewable | Fossil Fuel | Heat Rate | Efficiency |  | Expected Lifetime |  | CO2 Emission activity |  | Capacity Factor |  | Fixed Cost |  | Investment Cost |  | Variable Cost |  |  | Detailed list |  | Generalized Summary | [11 empty] | Max Activity |  | Max Capacity |  | Ramp Rate |  | Growth Seed | Growth Rate
| [-] | [-] | [-] | [-] | [-] | [-] | [-] | [-] | [-] | [-] | [-] | [-] | [-] | [-] | [Btu/kWh] | [%] | Ref. | [Years] | Ref. | kg/MWh | Ref. | [%] | Ref. | [US$/kW] | Ref. | [US$/kW] | Ref. | $/MWh | M$/PJ | Ref. | Year | Capacity | 50-54 | 55-59 | 60-64 | 65-69 | 70-74 | 75-79 | 95-99 | 00-04 | 05-09 | 10-14 | 15-Pres | Ref. | [TWh] | Ref. | [MW] | Ref. | [Fr/Hr] | Ref. | [GW] | [Fr]
# | Existing Centralized Power Plants | EX
1 | Coal | EX_COAL | COAL | ELC_CENTRAL | X | Y | N | Y | Y | Y | Y | Y |  | Y |  | 34.8 | [1] | 40 | [6] |  |  | 91.4 | [2] | 75.97 | [1] | N/A |  | 6.91 | 1.919 | [1] | 2002 | 454 | Generalized Summary 00-04: 454 |  | [3] | N/A | - | N/A | - | 0.01 | [1],[2] | N/A | N/A
2 | Diesel | EX_DSL_SIMP | DSL | ELC_CENTRAL | X | Y | N | Y | Y | Y | Y | Y |  | Y |  | 29.9 | [1] | 50 | Still active |  |  | 76 | [2] | 19.6 | [1] | N/A |  | 10.2167 | 2.838 | [1] | 1973,1997,2009 | 378,247.5,220 | Generalized Summary 70-74: 378; Generalized Summary 95-99: 247.5; Generalized Summary 05-09: 220 |  | [2] | N/A | - | N/A | - | 1 | [1],[2] | N/A | N/A
3 | Diesel Combined Cycle | EX_DSL_CC | DSL | ELC_CENTRAL | X | Y | N | Y | Y | Y | Y | Y |  | Y |  | 40 | [1] | 50 | Still active |  |  | 80 | [2] | 24.6333 | [1] | N/A |  | 3.5733 | 0.993 | [1] | 1975,1976,2008 | 296296440 | Generalized Summary 75-79: 592; Generalized Summary 05-09: 440 |  | [2] | N/A | - | N/A | - | 0.93 | [1],[2] | N/A | N/A
4 | Heavy Fuel Oil Combustion Turbine Type 1 | EX_OIL_TYPE1 | OIL | ELC_CENTRAL | X | Y | N | Y | Y | Y | Y | Y |  | Y |  | 35.3 | [1] | 55 | still active |  |  | 89 | [2] | 30.57 | [1] | N/A |  | 2.15 | 0.597 | [1] | 1971 | 900 | Generalized Summary 60-64: 170; Generalized Summary 65-69: 410; Generalized Summary 70-74: 410 |  | [2] | N/A | - | N/A | - | 0.67 | [1],[2] | N/A | N/A
5 | Heavy Fuel Oil Combustion Turbine Type 2 | EX_OIL_TYPE2 | OIL | ELC_CENTRAL | X | Y | N | Y | Y | Y | Y | Y |  | Y |  | 34.6 | [1] | 65 | still active |  |  | 58 | [2] | 34.31 | [1] | N/A |  | 2.6 | 0.722 | [1] | 1960,1962,1969,1972 | 85,85,410,410 | Generalized Summary 55-59: 170; Generalized Summary 60-64: 200; Generalized Summary 65-69: 632 |  | [2] | N/A | - | N/A | - | 0.73 | [1],[2] | N/A | N/A
6 | Heavy Fuel Oil Combustion Turbine Type 3 | EX_OIL_TYPE3 | OIL | ELC_CENTRAL | X | Y | N | Y | Y | Y | Y | Y |  | Y |  | 34.1 | [1] | 65 | still active |  |  | 78.5 | [2] | 45.56 | [1] | N/A |  | 3.705 | 1.029 | [1] | 1959,1964,1965,1966,1967,1968 | 170,200,100,100,216,216 | [11 empty] | [2] | N/A | - | N/A | - | 0.92 | [1],[2] | N/A | N/A
7 | Hydro Electric | EX_HYDRO | HYD | ELC_CENTRAL | X | Y | N | Y | Y | Y | Y | Y | Y |  |  | 92 | [5] | 100 | [5] |  |  | 63 | [1] | 41 | [15] | 3885 | [15] | 0 | 0 | [15] | 1953 | 100 | Generalized Summary 50-54: 100 |  | [2] | N/A | - | 102.7 | [8] | N/A |  | N/A | N/A
8 | MSW - Landfill Gas | EX_MSW_LF | MSW_LF | ELC_CENTRAL | X | Y | N | Y | Y | Y | Y | Y | Y |  | 18000 | 19 | [7] | 40 | [6] |  |  | 84 | [6] | 425.38 | [7] | N/A |  | 9.47 | 2.631 | [7] | 2016 | 2.4 | [10 empty] | 2.4 | [4] | N/A | - | N/A | - | N/A |  | N/A | N/A
9 | Natural Gas Combined Cycle | EX_NG_CC | NATGAS | ELC_CENTRAL | X | Y | N | Y | Y | Y | Y | Y |  | Y |  | 45.5 | [1] | 35 | [6] |  |  | 93 | [2] | 18.1 | [1] | N/A |  | 0 | 0 | [1] | 2000 | 507 | Generalized Summary 00-04: 507 |  | [3] | N/A | - | N/A | - | N/A |  | N/A | N/A
10 | Solar Photovoltaic Plant | EX_SOLPV | SOLAR | ELC_CENTRAL | X | 0 | N | Y | Y | Y | Y |  | Y |  | 9271 | 36.8 | [14] | 30 | [15] |  |  | 22 | [15] | 8 | [15] | N/A |  | 0 | 0 | [15] | 2012,2016 | 22.1,30.0 | Generalized Summary 10-14: 22.1 | 30 | [2],[4] | N/A | - | N/A | - | N/A |  | N/A | N/A
11 | Wind OnShore | EX_WIND | WIND | ELC_CENTRAL | X | 0 | N | Y | Y | Y | Y |  | Y |  | 9271 | 36.8 | [14] | 25 | [15] |  |  | 33.4 | [15] | 50 | [15] | N/A |  | 0 | 0 | [15] | 2012 | 102 | Generalized Summary 10-14: 102 |  | [8] | N/A | - | N/A | - | N/A |  | N/A | N/A
| New Centralized Power Technologies | EC
12 | Battery | EC_BATT | ELC_CENTRAL | ELC_CENTRAL | X | Y | Scenario specific | Y | Y |  |  | Y |  |  |  | 90 | [15] | 15 | [15] |  |  | 50 | N/A | 36.32 | [7] | 1950 | [7] | 7.26 | 2.017 | [7] | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | - | N/A |  | N/A |  | 0.5 | 1
13 | Biomass | EC_BIO | BIO | ELC_CENTRAL |  | Y | Scenario specific |  | Y |  |  | Y | Y |  | 13500 | 25.3 | [15] | 45 | [15] |  |  | 56 | [15] | 110 | [15] | 3760 | [15] | 5 | 1.389 | [15] | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | - | 290 | [8] | N/A |  | 0.5 | 1
| Coal | EC_COAL | [12 empty] | 8800 | 38.8 |  | 75 | [15] |  |  | 85 | [15] |  |  |  |  | 5 | 1.389 | [15]
| Diesel | EC_DSL | [12 empty] | 6600 | 51.7 |  | 55 | [15]
| Oil | EC_OIL | [12 empty] | 6600 | 51.7 |  | 55 | [15]
14 | Natural Gas Combined Cycle | EC_NG_CC | NATGAS | ELC_CENTRAL | X | Y | Scenario specific | Y | Y |  |  | Y |  | Y |  | 62.02 | [13] | 55 | [15] |  |  | 87 | [15] | 10 | [15] | 612.5701 | [13] | 3 | 0.833 | [15] | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | - | N/A | - | 1 | [1],[2] | 0.5 | 1
15 | Natural Gas Open Cycle | EC_NG_OC | NATGAS | ELC_CENTRAL |  | Y | Scenario specific | Y | Y |  |  | Y |  | Y |  | 42.47 | [13] | 55 | [15] |  |  | 30 | [15] | 12 | [15] | 188.2939 | [13] | 7 | 1.944 | [15] | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | - | N/A | - | N/A |  | 0.5 | 1
16 | Solar Photovoltaic Plant | EC_SOLPV | SOLAR | ELC_CENTRAL |  | 0 | Scenario specific |  | Y |  |  |  | Y |  | 9271 | 36.8 | [14] | 30 | [15] |  |  | 22 | [15] | 8 | [15] | 951 | [15] | 0 | 0 | [15] | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 250 | Model | N/A | - | N/A |  | 0.5 | 1
17 | Wind OnShore | EC_WIND | WIND | ELC_CENTRAL |  | 0 | Scenario specific |  | Y |  |  |  | Y |  | 9271 | 36.8 | [14] | 25 | [15] |  |  | 33.4 | [15] | 50 | [15] | 1628 | [15] | 0 | 0 | [15] | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 25.4 | Model | N/A | - | N/A |  | 0.5 | 1
| New Distributed Power Technologies | ED
18 | Battery | ED_BATT | ELC_DIST | ELC_DIST | X | Y | Scenario specific |  |  | Y | Y | Y |  |  |  | 90 | [15] | 15 | [15] |  |  | 50 | N/A | 36.32 | [7] | 1950 | [7] | 7.26 | 2.017 | [7] | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | - | N/A |  | N/A |  | 0.5 | 1
19 | Biomass | ED_BIO | BIO | ELC_DIST |  | Y | Scenario specific |  |  |  | Y | Y | Y |  | 13500 | 25.3 | [15] | 45 | [15] |  |  | 56 | [15] | 110 | [15] | 3760 | [15] | 5 | 1.389 | [15] | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | - | 290 | [8] | N/A |  | 0.5 | 1
21 | Natural Gas Combined Cycle | ED_NG_CC | NATGAS | ELC_DIST | X | Y | Scenario specific | Y | Y |  |  | Y |  | Y |  | 54.17 | [13] | 55 | [15] |  |  | 87 | [15] | 10 | [15] | 860.8921 | [13] | 3 | 0.833 | [15] | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | - | N/A | - | 1 | [1],[2] | 0.5 | 1
20 | Natural Gas Open Cycle | ED_NG_OC | NATGAS | ELC_DIST |  | Y | Scenario specific |  |  | Y | Y | Y |  | Y |  | 37.6 | [13] | 55 | [15] |  |  | 30 | [15] | 12 | [15] | 305.1598 | [13] | 7 | 1.944 | [15] | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | - | N/A |  | N/A |  | 0.5 | 1
22 | Solar Photovoltaic Plant | ED_SOLPV | SOLAR | ELC_DIST |  | 0 | Scenario specific |  |  |  | Y |  | Y |  | 9271 | 36.8 | [14] | 30 | [15] |  |  | 22 | [15] | 8 | [15] | 951 | [15] | 0 | 0 | [15] | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 250 | Model | N/A | - | N/A |  | 0.5 | 1
23 | Wind OnShore | ED_WIND | WIND | ELC_DIST |  | 0 | Scenario specific |  |  |  | Y |  | Y |  | 9271 | 36.8 | [14] | 25 | [15] |  |  | 33.4 | [15] | 50 | [15] | 1628 | [15] | 0 | 0 | [15] | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 25.4 | Model | N/A | - | N/A |  | 0.5 | 1
[10 empty] | Solar - LA |  | Wind | include - avg | 0.457
| References (Ref.) | [8 empty] | Utility - PV, 2020 |  |  | windspeed - avg | 2.499 | m/s
| [1] | PREPA 2017 Report | [7 empty] | Dist - PV, 2020 |  |  | Avg W/S | 5.4683 | m/s
| [2] | PREPA 2013 Report | [10 empty] | TRG7 | [9 empty] | Choices |  | All costs are from 2020
| [3] | PREPA Website - Operational Profile, Accessed 12/31/2017 | [20 empty] | Battery - mid price
| [4] | https://www.aeepr.com/Documentos/Ley57/Generaci%C3%B3n%20Diaria%20Enero%202016.pdf | [20 empty] | Biomass - single option
| [5] | http://www.iea-etsap.org/E-TechDS/PDF/E06-hydropower-GS-gct_ADfina_gs.pdf | [20 empty] | NGCC - constant running
| [6] | https://www.nrel.gov/docs/fy11osti/48595.pdf, "NREL-SEAC" for Capacity factors and lifetime | [20 empty] | NGOC - constant running
| [7] | https://www.eia.gov/outlooks/aeo/assumptions/pdf/table_8.2.pdf, 2019 | [20 empty] | Solar - utility and dist, based on LA (average irradiance)
| [8] | NREL - Energy Snapshot Puerto Rico, https://www.nrel.gov/docs/fy15osti/62708.pdf | [20 empty] | Wind - based on TRG7 (based on average m/s)
| [9] | https://www.eia.gov/analysis/studies/powerplants/capitalcost/, Table 1
| [10] | http://www.irena.org/publications/2017/Oct/Electricity-storage-and-renewables-costs-and-markets, 2030 lifetime reference case for Li-ion, Li-ion efficiency - small inverter for small-scale, large inverter for others
| [11] | https://www.nrel.gov/docs/fy15osti/64746.pdf
| [12] | https://www.nrel.gov/docs/fy17osti/67474.pdf
| [13] | GTW Handbook
| [14] | https://www.eia.gov/outlooks/aeo/assumptions/pdf/table_8.2.pdf, 2018
| [15] | ATB

## PowerPlants-Formatted
Technologies | Scenario |  |  | Post-Processing Classification |  |  | Technologies | Investment Cost |  | Fixed Cost |  | Variable Cost |  | Technologies | Capacity Factor |  | Efficiency |  | Expected Lifetime |  | Technologies | Ramp Rate |  | Max Capacity |  | Max Activity |  | Technologies | Existing Capacity [MW] by Year | [10 empty] | Ref.
- | A | B | C | Dispatchable | Renewable | Fossil | - | US$/kW | Ref. | US$/kW | Ref. | US M$/PJ | Ref. | - | % | Ref. | % | Ref. | Years | Ref. | - | [Fr/Hr] | Ref. | [TWh/yr] | Ref. | [TWh/yr] | Ref. | - | 50-54 | 55-59 | 60-64 | 65-69 | 70-74 | 75-79 | 95-99 | 00-04 | 05-09 | 10-14 | 15-Pres
Existing Centralized Power Plants | [6 empty] | Existing Centralized Power Plants | [6 empty] | Existing Centralized Power Plants | [6 empty] | Existing Centralized Power Plants | [6 empty] | Existing Centralized Power Plants
Coal | Y | Y | Y | Y | N | Y | Coal | N/A | 0 | 75.97 | [1] | 1.919 | [1] | Coal | 91.4 | [2] | 34.8 | [1] | 40 | [6] | Coal | 0.01 | [1],[2] | N/A | - | N/A | - | Coal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 454 | 0 | 0 | 0 | [3]
Diesel | Y | Y | Y | Y | N | Y | Diesel | N/A | 0 | 19.6 | [1] | 2.838 | [1] | Diesel | 76 | [2] | 29.9 | [1] | 50 | Still active | Diesel | 1 | [1],[2] | N/A | - | N/A | - | Diesel | 0 | 0 | 0 | 0 | 378 | 0 | 247.5 | 0 | 220 | 0 | 0 | [2]
Diesel Combined Cycle | Y | Y | Y | Y | N | Y | Diesel Combined Cycle | N/A | 0 | 24.6333 | [1] | 0.993 | [1] | Diesel Combined Cycle | 80 | [2] | 40 | [1] | 50 | Still active | Diesel Combined Cycle | 0.93 | [1],[2] | N/A | - | N/A | - | Diesel Combined Cycle | 0 | 0 | 0 | 0 | 0 | 592 | 0 | 0 | 440 | 0 | 0 | [2]
Heavy Fuel Oil Combustion Turbine Type 1 | Y | Y | Y | Y | N | Y | Heavy Fuel Oil Combustion Turbine Type 1 | N/A | 0 | 30.57 | [1] | 0.597 | [1] | Heavy Fuel Oil Combustion Turbine Type 1 | 89 | [2] | 35.3 | [1] | 55 | still active | Heavy Fuel Oil Combustion Turbine Type 1 | 0.67 | [1],[2] | N/A | - | N/A | - | Heavy Fuel Oil Combustion Turbine Type 1 | 0 | 0 | 170 | 410 | 410 | 0 | 0 | 0 | 0 | 0 | 0 | [2]
Heavy Fuel Oil Combustion Turbine Type 2 | Y | Y | Y | Y | N | Y | Heavy Fuel Oil Combustion Turbine Type 2 | N/A | 0 | 34.31 | [1] | 0.722 | [1] | Heavy Fuel Oil Combustion Turbine Type 2 | 58 | [2] | 34.6 | [1] | 65 | still active | Heavy Fuel Oil Combustion Turbine Type 2 | 0.73 | [1],[2] | N/A | - | N/A | - | Heavy Fuel Oil Combustion Turbine Type 2 | 0 | 170 | 200 | 632 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [2]
Heavy Fuel Oil Combustion Turbine Type 3 | Y | Y | Y | Y | N | Y | Heavy Fuel Oil Combustion Turbine Type 3 | N/A | 0 | 45.56 | [1] | 1.029 | [1] | Heavy Fuel Oil Combustion Turbine Type 3 | 78.5 | [2] | 34.1 | [1] | 65 | still active | Heavy Fuel Oil Combustion Turbine Type 3 | 0.92 | [1],[2] | N/A | - | N/A | - | Heavy Fuel Oil Combustion Turbine Type 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [2]
Hydro Electric | Y | Y | Y | Y | Y | N | Hydro Electric | 3885 | [15] | 41 | [15] | 0 | [15] | Hydro Electric | 63 | [1] | 92 | [5] | 100 | [5] | Hydro Electric | N/A | 0 | 102.7 | [8] | N/A | - | Hydro Electric | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [2]
MSW - Landfill Gas | Y | Y | Y | Y | Y | N | MSW - Landfill Gas | N/A | 0 | 425.38 | [7] | 2.631 | [7] | MSW - Landfill Gas | 84 | [6] | 19 | [7] | 40 | [6] | MSW - Landfill Gas | N/A | 0 | N/A | - | N/A | - | MSW - Landfill Gas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4 | [4]
Natural Gas Combined Cycle | Y | Y | Y | Y | N | Y | Natural Gas Combined Cycle | N/A | 0 | 18.1 | [1] | 0 | [1] | Natural Gas Combined Cycle | 93 | [2] | 45.5 | [1] | 35 | [6] | Natural Gas Combined Cycle | N/A | 0 | N/A | - | N/A | - | Natural Gas Combined Cycle | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 507 | 0 | 0 | 0 | [3]
Solar Photovoltaic Plant | Y | Y | Y | N | Y | N | Solar Photovoltaic Plant | N/A | 0 | 8 | [15] | 0 | [15] | Solar Photovoltaic Plant | 22 | [15] | 36.8 | [14] | 30 | [15] | Solar Photovoltaic Plant | N/A | 0 | N/A | - | N/A | - | Solar Photovoltaic Plant | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22.1 | 30 | [2],[4]
Wind OnShore | Y | Y | Y | N | Y | N | Wind OnShore | N/A | 0 | 50 | [15] | 0 | [15] | Wind OnShore | 33.4 | [15] | 36.8 | [14] | 25 | [15] | Wind OnShore | N/A | 0 | N/A | - | N/A | - | Wind OnShore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 102 | 0 | [8]
New Centralized Power Technologies | [6 empty] | New Centralized Power Technologies | [6 empty] | New Centralized Power Technologies | [6 empty] | New Centralized Power Technologies
Battery | Y | Y | N | Y | N | N | Battery | 1950 | [7] | 36.32 | [7] | 2.017 | [7] | Battery | 50 | N/A | 90 | [15] | 15 | [15] | Battery | N/A | 0 | N/A | 0 | N/A | -
Biomass | N | Y | N | Y | Y | N | Biomass | 3760 | [15] | 110 | [15] | 1.389 | [15] | Biomass | 56 | [15] | 25.3 | [15] | 45 | [15] | Biomass | N/A | 0 | 290 | [8] | N/A | -
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Natural Gas Combined Cycle | Y | Y | N | Y | N | Y | Natural Gas Combined Cycle | 612.5701 | [13] | 10 | [15] | 0.833 | [15] | Natural Gas Combined Cycle | 87 | [15] | 62.02 | [13] | 55 | [15] | Natural Gas Combined Cycle | 1 | [1],[2] | N/A | - | N/A | -
Natural Gas Open Cycle | Y | Y | N | Y | N | Y | Natural Gas Open Cycle | 188.2939 | [13] | 12 | [15] | 1.944 | [15] | Natural Gas Open Cycle | 30 | [15] | 42.47 | [13] | 55 | [15] | Natural Gas Open Cycle | N/A | 0 | N/A | - | N/A | -
Solar Photovoltaic Plant | N | Y | N | N | Y | N | Solar Photovoltaic Plant | 951 | [15] | 8 | [15] | 0 | [15] | Solar Photovoltaic Plant | 22 | [15] | 36.8 | [14] | 30 | [15] | Solar Photovoltaic Plant | N/A | 0 | N/A | - | 250 | Model
Wind OnShore | N | Y | N | N | Y | N | Wind OnShore | 1628 | [15] | 50 | [15] | 0 | [15] | Wind OnShore | 33.4 | [15] | 36.8 | [14] | 25 | [15] | Wind OnShore | N/A | 0 | N/A | - | 25.4 | Model
New Distributed Power Technologies | [6 empty] | New Distributed Power Technologies | [6 empty] | New Distributed Power Technologies | [6 empty] | New Distributed Power Technologies
Battery | N | N | Y | Y | N | N | Battery | 1950 | [7] | 36.32 | [7] | 2.017 | [7] | Battery | 50 | N/A | 90 | [15] | 15 | [15] | Battery | N/A | 0 | N/A | 0 | N/A | -
Biomass | N | N | Y | Y | Y | N | Biomass | 3760 | [15] | 110 | [15] | 1.389 | [15] | Biomass | 56 | [15] | 25.3 | [15] | 45 | [15] | Biomass | N/A | 0 | 290 | [8] | N/A | -
Natural Gas Open Cycle | N | N | Y | Y | N | Y | Natural Gas Open Cycle | 305.1598 | [13] | 12 | [15] | 1.944 | [15] | Natural Gas Open Cycle | 30 | [15] | 37.6 | [13] | 55 | [15] | Natural Gas Open Cycle | N/A | 0 | N/A | 0 | N/A | -
Solar Photovoltaic Plant | N | N | Y | N | Y | N | Solar Photovoltaic Plant | 951 | [15] | 8 | [15] | 0 | [15] | Solar Photovoltaic Plant | 22 | [15] | 36.8 | [14] | 30 | [15] | Solar Photovoltaic Plant | N/A | 0 | N/A | - | 250 | Model
Wind OnShore | N | N | Y | N | Y | N | Wind OnShore | 1628 | [15] | 50 | [15] | 0 | [15] | Wind OnShore | 33.4 | [15] | 36.8 | [14] | 25 | [15] | Wind OnShore | N/A | 0 | N/A | - | 25.4 | Model
#REF! | [6 empty] | #REF! | [6 empty] | #REF! | [6 empty] | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!

## Fuel-Input
Legend
Needs Attention
Missing Value | [12 empty] | 20 yr time horizon
Calculated | [12 empty] | https://link.springer.com/content/pdf/10.1007%2Fs10584-011-0061-5.pdf
Conversions:
From | To | Multiplier | [10 empty] | Herron S, Kyle A, Lewis E, Woods M. Greenhouse Gas Reductions in the Power Industry Using Domestic Coal and Biomass 2012;2.
MMBTU | PJ | 1.0551e-06
kg | kton | 1e-06
MWh | PJ | 3.6e-06
$ | M$ | 1e-06
Fuels | Temoa Naming and Options |  | $/MMBtu | 2016 Variable Cost |  |  | Yearly % Increase |  | 2056 Variable Cost |  |  |  | Emission activity |  |  |  |  | Methane L | Methane
| import tech name | fuel name | [9 empty] | Direct CO2 | Direct CO2 | Indirect CO2 | Methane | CO2eq
[-] | [-] | [-] |  | $/MWh | M$/PJ | Reference | % | Reference | $/MWh | M$/PJ | [kg/MWh | [kg/MMBTu] | [ktonCO2eq/PJ] | [ktonCO2eq/PJ] | [ktonCO2eq/PJ] | [ktonCO2eq/PJ] | Reference
Biomass | IMPBIO | BIO |  | 20.52 | 5.7 | [3] | 1.65 | [4] | 39.4887 | 10.9691 | 0 |  | 0 |  |  |  | -
Coal | IMPCOAL | COAL | 4.25 | 14.5016 | 4.0282 | [1], Appendix D-3, Table D6-4, Coal AES, Jan 17 | 0.6 | [4] | 18.4219 | 5.1172 |  | 95.35 | 90.3744 |  |  |  | [2]
Diesel | IMPDSL | DSL | 12.0868 | 41.2419 | 11.4561 | [1], Appendix D-3, Table D6-4, No. 2 Avg, Jan 17 | 1.7 | [4] | 80.9425 | 22.484 |  | 73.16 | 69.3423 |  |  |  | [2]
Hydro | IMPHYD | HYD |  | 0 | 0 | N/A | N/A | N/A | 0 | 0 |  | 0 | 0 |  |  |  | N/A
Landfill Gas | IMPLANDF | MSW_LF |  | 0 | 0 | N/A | N/A | N/A | 0 | 0 |  | 41.69 | 39.5145 |  |  |  | [2]
Oil | IMPOIL | OIL | 7.5894 | 25.8961 | 7.1934 | [1], Appendix D-3, Table D6-4, No. 6 Avg, Jan 17 | 1.6 | [4] | 48.8633 | 13.5731 |  | 71.3 | 67.5794 |  |  |  | [2]
Natural Gas | IMPNATGAS | NATGAS | 8.043 | 27.4438 | 7.6233 | [1], Appendix D-3, Table D6-4, Nat Gas Avg, Jan 17 | 1.4 | [4] | 47.8588 | 13.2941 |  | 53.07 | 50.3007 |  |  |  | [2]
Solar | IMPSOLAR | SOLAR |  | 0 | 0 | N/A | N/A | N/A | 0 | 0 |  | 0 | 0 |  |  |  | N/A
Wind | IMPWIND | WIND |  | 0 | 0 | N/A | N/A | N/A | 0 | 0 |  | 0 | 0 |  |  |  | N/A
5.75
References:
[1] | Appendix D-2 of 2017 PREPA Report
[2] | co2_vol_mass_updated.xlsx, https://www.eia.gov/environment/emissions/co2_vol_mass.php,, downloaded 22Jan2018
[3] | https://www.iea-etsap.org/E-TechDS/PDF/P09_Biomass%20prod&log_ML_Dec2013_GSOK.pdf, energy crops
[4] | https://www.eia.gov/analysis/projection-data.php#annualproj
[5] | Howarth 2011
[6] | Herron S, Kyle A, Lewis E, Woods M. Greenhouse Gas Reductions in the Power Industry Using Domestic Coal and Biomass 2012;2.

## Fuel-Formatted
Fuel | Variable Cost |  |  |  |  | CO2 Emission activity
| 2016 |  | Yearly Increase |  | 2050
- | US M$/PJ | Ref. | % | Ref. | US M$/PJ | kton/PJ | Ref.
Biomass | 5.7 | [3] | 1.65 | [4] | 10.9691 | 0 | -
Coal | 4.0282 | [1], Appendix D-3, Table D6-4, Coal AES, Jan 17 | 0.6 | [4] | 5.1172 | 0 | [2]
Diesel | 11.4561 | [1], Appendix D-3, Table D6-4, No. 2 Avg, Jan 17 | 1.7 | [4] | 22.484 | 0 | [2]
Hydro | 0 | N/A | N/A | N/A | 0 | 0 | N/A
Landfill Gas | 0 | N/A | N/A | N/A | 0 | 0 | [2]
Oil | 7.1934 | [1], Appendix D-3, Table D6-4, No. 6 Avg, Jan 17 | 1.6 | [4] | 13.5731 | 0 | [2]
Natural Gas | 7.6233 | [1], Appendix D-3, Table D6-4, Nat Gas Avg, Jan 17 | 1.4 | [4] | 13.2941 | 0 | [2]
Solar | 0 | N/A | N/A | N/A | 0 | 0 | N/A
Wind | 0 | N/A | N/A | N/A | 0 | 0 | N/A

## Connections-Input
Legend
Needs Attention
Missing Value
Calculated
Conversions
[MWh/PJ] | 277777.7778
[m$/$] | 1e-06
Technologies | TEMOA Naming and Options | [6 empty] | Costs | [5 empty] | Existing Capacity [MW]
| Temoa Name | Temoa Input | Temoa Output | Efficiency |  | Expected Lifetime |  | Fixed Cost |  | Investment Cost |  | Activity Cost |  | Detailed list |  | Generalized Summary
[-] | [-] | [-] | [-] | [%] | Ref. | [Years] | Ref. | [US$/kW] | Ref. | [US$/kW] | Ref. | M$/PJ | Ref. | Year | Capacity | 1950 | 1955 | 1960 | 1965 | 1970 | 1975 | 1995 | 2000 | 2005 | 2010 | 2015 | Ref.
Transmission Connection | TRANS | ELC_CENTRAL | ELC_DIST | 94 | [1] | [6 empty] | 1.11 | [2-4]
Distribution Lines | DIST | ELC_DIST | ELC_DMD | 93 | [1] | [6 empty] | 1.48 | [2-4]
No Grid | E_DSL_SIMP | ELC_NOGRID | ELC_DMD | 100 | N/A | [6 empty] | 0 | N/A
References (Ref.)
[1] | https://iea-etsap.org/E-TechDS/PDF/E12_el-t&d_KV_Apr2014_GSOK.pdf
[2] | file:///C:/Users/cntrev/Documents/Capstone%20CE%204990/Transmission/2015%20financials.pdf
[3] | https://www.aeepr.com/INVESTORS/DOCS/Financial%20Information/Annual%20Reports/PR%20Electric%20Power%20Authority%20FS%20with%20Independent%20Auditors%20Report_6_30_2013_.pdf
[4] | http://energia.pr.gov/datos/consumo-total-en-millones-de-kwh/

## Connections-Formatted
Connection | Efficiency |  | Variable Cost
- | % | Ref. | US M$/PJ | Ref.
Transmission Connection | 94 | [1] | 1.11 | [2-4]
Distribution Lines | 93 | [1] | 1.48 | [2-4]
No Grid | 100 | N/A | 0 | N/A